*Please update the table of contents before closing the document.*

Table of contents

[Name of the assessed CAB 2](#_Toc191968752)

[Assessment plan 3](#_Toc191968753)

[Attendance list opening meeting/closing 6](#_Toc191968754)

[Summaries and conclusions of assessment 7](#_Toc191968755)

[Nom of the team leader: NAME First name 7](#_Toc191968756)

[Name of the technical assessor: NAME First name 12](#_Toc191968757)

[Finding n°: initials of the assessor + n° x/y 17](#_Toc191968758)

[Corrective action sheet for finding n°: initials of the assessor + x/y 18](#_Toc191968759)

[Validated accreditation scope of a testing laboratory 19](#_Toc191968760)

[Validated accreditation scope of a calibration laboratory 19](#_Toc191968761)

# Name of the assessed CAB

Type of assessment

(ex : P1S1+E1)

According to standard ISO/IEC 17025:2017

*“General requirements for the competence of testing and calibration laboratories”*

(File no 20xx/x/0xx)

*Please find all necessary information with regard to the type of assessment and file n° on your mission order*

## Assessment plan

|  |  |
| --- | --- |
| **Name of the CAB:** |  |

**Assessment criteria and objectives**

|  |  |
| --- | --- |
| **Accreditation standard:** |  |
| **Type of assessment:** | initial  renewal  surveillance  extension  additional |

*The above table is to be repeated for each accreditation standard concerned, cf. mission order.*

|  |  |  |  |
| --- | --- | --- | --- |
| **Notified body:** | yes  no | **Directive(s) / regulation(s) assessed:** |  |
| **Multisite CAB?** | yes  no |

**Assessment scope, team, sites and dates**

| Name of the assessor | Function\* | Assessed activities | Site | Date | Flexible scope of accreditation? | Modifications of the scope (extensions, flexibility) | Findings to be closed and any other follow-up actions |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | yes  no |  |  |
|  |  |  |  |  | yes  no |  |  |
|  |  |  |  |  | yes  no |  |  |
|  |  |  |  |  | yes  no |  |  |
|  |  |  |  |  | yes  no |  |  |
|  |  |  |  |  | yes  no |  |  |
|  |  |  |  |  | yes  no |  |  |
| \* TL = Team leader, TA = Technical Assessor, Expert = E, JA = Junior Assessor | | | | | | | |

|  |  |
| --- | --- |
| For initial assessments: date of documentary review by the team leader |  |

**Schedule**

*Do plan intermediate closing meetings if not all assessors are present at the final closing meeting.*

| Date and time: | | Reference section: | Names of assessors: | Persons encountered: |
| --- | --- | --- | --- | --- |
|  |  | Opening meeting  - Presentation of assessors and participants,  - Confirmation of rules of confidentiality,  - The audit objectives and criteria for accreditation,  - Review of the scope of accreditation,  - Approval of the audit plan,  - Evolution since last assessment (organisation, MQS, equipment,…) | Form *F003G - Attendance list* to be completed | |
|  |  |  | Team leader | Quality manager |
|  |  |  | Technical assessor | Technical manager and technicians |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  | If necessary, exchange of point of views of audit team members | Audit team | / |
| Lunch Break | | | | |
|  |  | If necessary, exchange of point of views of audit team members | Audit team | / |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  | Set up of possible findings,  Preparation of the closing meeting | Audit team | / |
|  |  | Closing meeting  - Presentation of findings and signature/approval of findings,  - Presentation and comments with regard to the summary audit report,  - Fix final date for reception of corrective actions (max. 15 workdays),  - Define changes to be realized to the scope of accreditation (if applicable)  - Inform CAB of next steps with regard to accreditation procedure. | Form *F003G - Attendance list* to be completed | |

|  |
| --- |
| Remark: Planning of the different phases of the management system audit and technical audit is likely to adjustments depending on constraints of the planning of the body which will be specified during the opening meeting. |

## Attendance list opening meeting/closing

|  |  |  |  |
| --- | --- | --- | --- |
| **Opening meeting:** | check the box | **Meeting date:** |  |
| **Closing meeting** | check the box |

| **CAB’s audited personnel** | **Function** | **Signature** |
| --- | --- | --- |
|  |  | Original signed |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |

| **Assessors** | **Function (TL, TA, E, JA) and technical domain** | **Signature** |
| --- | --- | --- |
|  |  | Original signed |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |

## Summaries and conclusions of assessment

|  |  |  |  |
| --- | --- | --- | --- |
| Nom of the team leader: NAME First name | | | |
| Summary of the team leader  Please fill out all boxes below mentioning your observations and related assessment evidences.  For all not examined or not applicable points, please state this clearly in the corresponding field. | | | |
| Important amendments since the previous assessment | | | |
|  | | | |
| Legal structure and description of the activities of the organization | | | |
| 5.1 Legal entity | | | |
|  | | | |
| 5.3 and 5.4 Laboratory activities | | | |
|  | | | |
| General organisation (organisation charts, position within the structure), roles and responsibilities | | | |
| 5.2 Laboratory management | | | |
|  | | | |
| 5.5 Organisation | | | |
|  | | | |
| 5.6 Quality management | | | |
|  | | | |
| 5.7 and 8.2.1 Objectives and policies | | | |
|  | | | |
| For multisite CABs:  Respect of the requirements of OLAS annex [A013](https://portail-qualite.public.lu/content/dam/qualite/fr/documentations/accreditation-notification/accreditation-olas/annexes/a013-accreditation-multisite/A013-accreditation-multisite-en.pdf) | | | |
|  | | | |
| Management of impartiality, independence and confidentiality/ Ethical conduct | | | |
| 4.1 Impartiality | | | |
|  | | | |
| 4.2 Confidentiality | | | |
|  | | | |
| Resource requirements | | | |
| 6.2 Personnel  Management of staff competence (contract, training, qualification, authorization, competence and performance, records…) | | | |
|  | | | |
| 6.3 Facilities and environmental conditions | | | |
|  | | | |
| 6.4 & 6.5 Equipment / Equipment calibration and metrological traceability  OLAS annex [A016](https://portail-qualite.public.lu/content/dam/qualite/fr/documentations/accreditation-notification/accreditation-olas/annexes/a016-tracabilite-etalons-internationaux/A016-tracabilite-etalons-internationaux-en.pdf)  ILAC document [P10](https://ilac.org/?ddownload=123220) | | | |
|  | | | |
| Competence of service providers performing calibrations via the *3rd route (internal and/or external)*  OLAS annex [A016](https://portail-qualite.public.lu/content/dam/qualite/fr/documentations/accreditation-notification/accreditation-olas/annexes/a016-tracabilite-etalons-internationaux/A016-tracabilite-etalons-internationaux-en.pdf)  LAC document [P10](https://ilac.org/?ddownload=123220)  In-house calibration: documents EA-[4/02](https://european-accreditation.org/publications/ea-4-02-m/) and ILAC [P14](https://ilac.org/?ddownload=123348) | | | |
|  | | | |
| Agreements | | | |
| 6.6 Externally provided products and services | | | |
|  | | | |
| 7.1 Review of requests, tenders and contracts | | | |
|  | | | |
| Process requirements | | | |
| Vertical traceability audit  Please indicate the of assessed file(s) | | | |
|  | | | |
| Respect of the guidelines for the use of the OLAS accreditation symbol  OLAS annex [A003](https://portail-qualite.public.lu/content/dam/qualite/fr/documentations/accreditation-notification/accreditation-olas/annexes/A003-regles-logo/A003-regles-logo-en.pdf) | | | |
|  | | | |
| Management of the (fixed and/or flexible) accreditation scope  OLAS annex [A012](https://portail-qualite.public.lu/content/dam/qualite/fr/documentations/accreditation-notification/accreditation-olas/annexes/a012-portees-fixes-et-flexibles/A012-portees-fixes-et-flexibles-en.pdf)  EA document EA-[2/15](https://european-accreditation.org/wp-content/uploads/2018/10/ea-2-15-m.pdf) | | | |
|  | | | |
| 7.11 Control of data and information management  (built-in software, data transfer, data protection and security, software version management …) | | | |
|  | | | |
| Requirements with regard to Management System of the CAB | | | |
| 8.1 General requirements / Options | | | |
|  | | | |
| 8.2 & 8.3 Management system documentation and control of management system documents, monitoring of document updates | | | |
|  | | | |
| 8.4 Control of records | | | |
|  | | | |
| 8.5 Actions to address risks and opportunities for improvement | | | |
|  | | | |
| 8.6 Improvement (continual improvement, laboratory patients, user, and personnel feedback) | | | |
|  | | | |
| 8.7 Nonconformities and corrective actions  7.9 Complaints  7.10 Nonconforming work | | | |
|  | | | |
| 8.8 Internal audits | | | |
|  | | | |
| 8.9 Management reviews | | | |
|  | | | |
| Control of corrective actions of the previous assessment  Please do also check the intermediary report of the CAB (F037) | | | |
|  | | | |
| Only mention those findings which have not been closed in the table below | | | |
| Identification n° of the finding from the previous assessment | | Identification n° of this assessment’s finding | Comment: |
|  | |  |  |
| Additional comments (if relevant): | | | |
|  | | | |
| Strong areas: | | | |
|  | | | |
| Sensitive areas: | | | |
|  | | | |
| Final conclusions of team leader on improving the efficiency of the quality system: | | | |
|  | | | |
| **Clear statement** of the team leader as to the granting, maintaining, withdrawing, etc. of accreditation status: | | | |
|  | | | |
| **Validation of the accreditation scope** and the granted flexibility (if applicable) by the team in collaboration with the CAB before publication:  *Please do specify any* ***changes*** *of the accreditation scope, if applicable..* | | | |
|  | | | |
| Persons encountered: | | | |
| NAME- First name | Function - Service | | |
|  |  | | |
|  |  | | |
|  |  | | |
|  |  | | |
|  |  | | |
|  |  | | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name of the technical assessor: NAME First name | | | | | |
| Summary of the technical assessor  Please complete all boxes below, mentioning your observations and related assessment proofs.  With regard to non-assessed points or if not applicable, please do state this clearly in the corresponding field. | | | | | |
| Methods or equipments checked during this assessment | | | | | |
|  | | | | | |
| Witness of on-site sampling and/or realisation of analyses | | | | | |
| Witnessed analyses and/or sampling | | | Observed personnel | | Comments on the observation |
|  | | |  | |  |
|  | | |  | |  |
|  | | |  | |  |
| Resource requirements | | | | | |
| 6.2 Personnel  Management of staff competence (contract, training, qualification, authorization, competence and performance, records…) | | | | | |
|  | | | | | |
| 6.3 Facilities and environmental conditions | | | | | |
|  | | | | | |
| 6.4 & 6.5 Equipment / Equipment calibration and metrological traceability  OLAS annex [A016](https://portail-qualite.public.lu/content/dam/qualite/fr/documentations/accreditation-notification/accreditation-olas/annexes/a016-tracabilite-etalons-internationaux/A016-tracabilite-etalons-internationaux-en.pdf)  ILAC document [P10](https://ilac.org/?ddownload=123220) | | | | | |
|  | | | | | |
| Competence of service providers performing calibrations via the *3rd route (internal and/or external)*  OLAS annex [A016](https://portail-qualite.public.lu/content/dam/qualite/fr/documentations/accreditation-notification/accreditation-olas/annexes/a016-tracabilite-etalons-internationaux/A016-tracabilite-etalons-internationaux-en.pdf)  LAC document [P10](https://ilac.org/?ddownload=123220)  In-house calibration: documents EA-[4/02](https://european-accreditation.org/publications/ea-4-02-m/) and ILAC [P14](https://ilac.org/?ddownload=123348) | | | | | |
|  | | | | | |
| Agreements | | | | | |
| 6.6 Externally provided products and services | | | | | |
|  | | | | | |
| 7.1 Review of requests, tenders and contracts | | | | | |
|  | | | | | |
| Process requirements | | | | | |
| Vertical traceability audit  Please indicate the of assessed file(s) | | | | | |
|  | | | | | |
| 7.3 Sampling and 7.4 Handling of test or calibration items | | | | | |
|  | | | | | |
| 7.2 Selection, verification and validation of methods  7.5 Technical records  OLAS annex [A011](https://portail-qualite.public.lu/content/dam/qualite/fr/documentations/accreditation-notification/accreditation-olas/annexes/a011-validation-methodes/A011-validation-methodes-en.pdf) | | | | | |
|  | | | | | |
| 7.6 Evaluation of measurement uncertainty | | | | | |
|  | | | | | |
| 7. 7 Ensuring the validity of examination results:  Frequency of participation, results obtained, corrective actions and other proofs of their competence in case of non-participation  OLAS annex [A015](https://portail-qualite.public.lu/content/dam/qualite/fr/documentations/accreditation-notification/accreditation-olas/annexes/a015-comparaisons-interlaboratoires/a015-comparaisons-interlaboratoires-en.pdf)  ILAC document [P9](https://ilac.org/?ddownload=3259) | | | | | |
|  | | | | | |
| 7.8 Reporting of results | | | | | |
|  | | | | | |
| 7.8.6 Reporting statements of conformity | | | | | |
|  | | | | | |
| Respect of the guidelines for the use of the OLAS accreditation symbol  OLAS annex [A003](https://portail-qualite.public.lu/content/dam/qualite/fr/documentations/accreditation-notification/accreditation-olas/annexes/A003-regles-logo/A003-regles-logo-en.pdf) | | | | | |
|  | | | | | |
| 7.10 Nonconforming work  8.7 Corrective actions | | | | | |
|  | | | | | |
| 7.11 Control of data and information management  (built-in software, data transfer, data protection and security, software version management …) | | | | | |
|  | | | | | |
| Management of the accreditation scope (fixed and/or flexible scope)  OLAS annex [A012](https://portail-qualite.public.lu/content/dam/qualite/fr/documentations/accreditation-notification/accreditation-olas/annexes/a012-portees-fixes-et-flexibles/A012-portees-fixes-et-flexibles-en.pdf)  EA document EA-[2/15](https://european-accreditation.org/wp-content/uploads/2018/10/ea-2-15-m.pdf) | | | | | |
|  | | | | | |
| In case of a transition from a fixed to a flexible scope | | | | | |
|  | Monitoring of the competence of the technical personnel responsible for the concerned activities (stability of personnel, training, competency assessment).  Degree of understanding of the CAB in the rules and procedures for implementing and managing a flexible scope | | | | |
|  | | | | |
| Design and implementation process  Complexity and level of familiarity of the NAB with the conformity assessment activities  Robustness of the process (including extent of controls) designed by the CAB for  managing its flexible scope | | | | |
|  | | | | |
| Contract review and management of the List of accredited activities | | | | |
|  | | | | |
| Planned frequency with which the CAB intends to update the List of activities relating to the flexible scope | | | | |
|  | | | | |
| Control of corrective actions of the previous assessment  Please do also check the intermediary report of the CAB (F037) | | | | | |
|  | | | | | |
| Only mention those findings which have not been closed in the table below | | | | | |
| Identification n° of the finding from the previous assessment | | | Identification n° of the finding from the previous assessment | | Identification n° of the finding from the previous assessment |
|  | | |  | |  |
| Additional comments (if relevant): | | | | | |
|  | | | | | |
| Strong areas: | | | | | |
|  | | | | | |
| Sensitive areas: | | | | | |
|  | | | | | |
| **Final conclusion** of the technical assessor regarding the technical competencies of the audited body: | | | | | |
|  | | | | | |
| Persons encountered: | | | | | |
| Name – First name | | Function - Service | | Technical domain(s)  (see accreditation scope) | |
|  | |  | |  | |
|  | |  | |  | |
|  | |  | |  | |
|  | |  | |  | |
|  | |  | |  | |
|  | |  | |  | |

|  |  |
| --- | --- |
| **Finding n°: initials of the assessor + n° x/y** | |
| **Accreditation standard:** |  |

**Non-critical finding:** Non-compliance with accreditation requirements\*, whose consequences do not have a direct impact on the reliability of results or decisions and which does not compromise the overall operation of the management system.

The finding may be the result of a requirement that has not or only partially been addressed, or of a requirement that needs to be further formalised or clarified.

**Critical finding:** Non-compliance with accreditation requirements\*, whose consequences present a risk to the reliability of results or decisions or a risk to the ability of the management system to maintain the quality level of conformity assessment activities.

The accumulation or repeated occurrence of non-critical findings from the same requirement may indicate a major deficiency in the management system.

*\* Accreditation requirements include applicable standards, regulatory requirements and mandatory OLAS, EA, ILAC and IAF guides.*

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| TECHNICAL OR QUALITY ASSESSOR | Finding: | - Non-critical finding | | | - Critical finding | |
| Paragraph(s) of the standard: | § | | | | |
| This finding relates to: | - application | | - documentation | | |
| Description: | | | | | |
| Give a factual description of the discrepancy between the situation as found and the standard. . | | | | | |
| Motivation of the classification of the finding: | | | | | |
| Please describe the context associated with the finding. | | | | | |
| Date: | | Assessor: | | | Signature: |
|  | | | | | | |
| ASSESSED ENTITY | Assessed entity approval: | | - yes | | - no | |
| Remarks of the assessed entity: | | | | | |
| Date: | | Assessed: | | | Signature: |

**Remark: For critical findings, proof that corrective action has been implemented shall be sent by the CAB to the assessors and experts who issued the finding and to OLAS within 3 months of the assessment.**

|  |
| --- |
| **Corrective action sheet for finding n°: initials of the assessor + x/y** |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| assessed entity | Corrections (if applicable) | | | | |
| Please indicate actions taken to secure your direct customers. | | | | |
| Analysis of the cause (e.g. root cause analysis) of the finding: | | | | |
| E.g. : “5 Whys”, Ishikawa diagram, Cause tree, 5 W’s, ...  *To be avoided:*  *• rewording of the finding*  *• “catch-all” formulas (we forgot, we didn’t have time…)* | | | | |
| Analysis of the extent of the finding | | | | |
| Please clearly identify:   * The services concerned, * How long it has occurred, * Any impact on results or decisions. | | | | |
| Corrective actions: | | | | |
| Please indicate the action(s) aimed at eliminatig the cause of the non-conformity and preventing its recurrence. | | | | |
| Deadline for application (cannot exceed three months after the date of the assessment): | | |  | |
| Date: | Assessed: | | | |
|  | | | | | |
| QUALITY OR TECHNICAL ASSESSOR | Is the suggested corrective action appropriate? | | - yes | | - no |
| Remarks:  *Note :* if the responses to the various items (analysis of extent, causes, proposed actions) are considered insufficient, additional information is requested by the assessors or experts.  Only one exchange is allowed between the concerned assessor and the CAB. If the responses are still insufficient at the end of this exchange, please indicate here. | | | | |
| Date: | Assessor: | | | |
|  | | | | | |

**Remark: The recommended corrective action should be submitted by organizations to the appropriate Team Leader or Technical Assessor within 15 working days following the assessment.**

## Validated accreditation scope of a testing laboratory

| Choose macro domain |
| --- |

| **Objects submitted for analysis** | **Characteristics or properties measured** | **Measurement principle and equipment** | **Analysis methods** |
| --- | --- | --- | --- |
| (e.g. products, materials, samples, matrices, equipment) |  | (e.g. manual or automatic measurement) | (e.g. published, adapted, checked internally) |
| **General domain:** | | | |
| **Technical domain:** | | | |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

## Validated accreditation scope of a calibration laboratory

| Metrology |
| --- |

| **Objects submitted to calibration** | **Characteristics or properties measured** | **Calibration methods** | **Measuring range** | **Calibration and Measurement Capability (CMC)** |
| --- | --- | --- | --- | --- |
|  |  | (e.g. published, adapted, internally validated) |  | Enlarged uncertainty (k=2) |
| **General domain:** | | | | |
| **Technical domain:** | | | | |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |